Cheshire Rural Touring Network

Access Report

Venue:	   Kelsall Community Centre

Contact:	   John Gray  Tel: 01829 752833   Initial Visit: 20/07/00

Tel. Update: July ’01 → ‘12

_______________________________________________________

Car Park:

Main car park adjacent to the community centre is situated on a much

higher level – No designated spaces.  10 steps lead down from car

park to the buildings below. (An extremely steep ramp from the car park

to the rear of the building is not recommended for general use due to its

exceptionally steep gradient.)

_______________________________________________________

Entrance:

A ramped approach with a lesser steep incline leads from a lower car

park down to the main entrance.* 1 step at main door leads through double doors into lobby step free route through to hall.

_______________________________________________________

Audience / Performance Space:

Floor space only - No stage.

_______________________________________________________

Green / Changing Room:

Changing room to side of hall or within lobby area.

_______________________________________________________

Toilet Facilities:

Ladies & Gents WCs plus unisex accessible WC are situated within lobby area – Lateral transfer space restricted within accessible WC.  Audience & performers use same WC facilities.

_______________________________________________________

Induction Loop / Infrared System:

Induction Loop apparently not used anymore due to the fact there is only one fixed microphone available therefore symbol removed ’12.

_____________________________________________________

General Comments:

* Disabled patrons can access the lesser inclined approach to the entrance via a car park belonging to the Institute (next door) and may disembark in this area.  However, parking in this area may not be feasible if the Institute is being used and people are advised to ring in advance to see if a parking space can be arranged.  Appropriate text added within brochure to this effect (’10, ’11, ‘12)

Symbols Awarded:

1

tsr